| Concept Group | Presenter Name | Key Take Home Points | Answers to Quiz Questions |
| --- | --- | --- | --- |
| Module 1 |  |  |  |
| 1. Describe how ultrasound travels through tissue and the properties of an ultrasound wave (compression, rarefaction, Amplitude, frequency, period, wavelength, velocity, c = fλ) |  |  |  |
| 2. Describe in detail the interactions of ultrasound with tissue; reflection, refraction, absorption. Include Snell's law, but you do not need to cover how to calculate % reflection. |  |  |  |
| 3. Describe in detail the interactions of ultrasound with tissue; scattering and divergence. |  |  |  |
| 4.Describe in detail the process of % reflection and how it depends on acoustic impedance. |  |  |  |
| 5. Describe the relationship between intensity and amplitude. Also describe Huygen's Principle. |  |  |  |
| 6. Describe attenuation of ultrasound focussing on dB loss and echo ranging. |  |  |  |
| Module 2 |  |  |  |
| 1. Discuss frame rate, spatial pulse length, pulse duration, pulse repetition frequency, and pulse repetition period including calculation of max frame rate |  |  |  |
| 2. Discuss axial resolution, lateral resolution, contrast resolution and temporal resolution |  |  |  |
| 3. Discuss the different types of transducers linear, curved, phased, matrix |  |  |  |
| 4. Discuss focussing of the ultrasound beam |  |  |  |
| 5. Discuss beamwidth and slice thickness including beamwidth at focus and sidelobes |  |  |  |
| 6. Explain A-mode, B-mode and M-mode and their applications and also discuss the various layers of an ultrasound transducer |  |  |  |
| Module 3 |  |  |  |
| 1. Discuss 1. Amplification. 2. the different types of storage devices eg PACS |  |  |  |
| 2. Discuss the primary components of an ultrasound machine using a block diagram to demonstrate |  |  |  |
| 3. Define the terms gain and power and the effect on an image of changing each |  |  |  |
| 4. Discuss TGC, how it works and what happens to an image when you change it |  |  |  |
| 5. Discuss dynamic range and the effect it has on your images. Also discuss what applications a high and low dynamic range is useful |  |  |  |
| 6. Describe pre and post processing techniques including read zoom and write zoom. |  |  |  |
| Module 4 |  |  |  |
| 1. Describe the interrelationship between frame rate, line density, sector angle |  |  |  |
| 2. Introduce harmonic imaging. Demonstrate the advantages and disadvantages of harmonic imaging |  |  |  |
| 3. Discuss contrast imaging in ultrasound. |  |  |  |
| 4.Describe and demonstrate elastography in ultrasound |  |  |  |
| 5. Demonstrate extended field of view imaging and 3D/4D imaging and their uses |  |  |  |
| 6. Describe speckle tracking, synthetic aperture imaging and briefly, Artificial intelligence in ultrasound |  |  |  |
| Module 5 |  |  |  |
| 1. Describe the basic assumptions of an ultrasound machine and what they mean |  |  |  |
| 2. Describe and discuss artefact avoidance strategies |  |  |  |
| 3. Describe acoustic speckle, focal zone banding, beam width, slice thickness and sidelobe artifacts |  |  |  |
| 4. Describe Acoustic enhancement, acoustic shadow, dirty shadow, dropout, venetian blind shadow, partial shadow, edge effect shadow and anisotropy artifacts |  |  |  |
| 5. Describe refraction artifact, ghost artifact, reverberation artifact, comet tail, ringdown, mirror image and reflection artifacts. |  |  |  |
| 6.Describe range ambiguity, propagation speed, motion, acoustic windown, angle of approach and mechanical artifacts. |  |  |  |
| Module 6 |  |  |  |
| Module 7 |  |  |  |
| 1. Describe the intensity descriptors SPTA, SPTP, SATP, SATA |  |  |  |
| 2. Describe Thermal Index, the different types of thermal index and how to reduce TI |  |  |  |
| 3. Describe Mechanical Index; including transient and stable cavitation and how to reduce MI |  |  |  |
| 4. Provide a summary of the ultrasound safety statements and the ALARA principle |  |  |  |
| 5. Discuss dose, duty factor, dwell time, pulse average intensity and beam uniformity ratio. |  |  |  |
| 6.Describe a summary of work done to date sonographers’ awareness of bioeffects and the bioeffects that can be caused by ultrasound. |  |  |  |
| Module 8 |  |  |  |
| 1. Describe and demonstrate axial resolution |  |  |  |
| 2. Describe and demonstrate lateral resolution |  |  |  |
| 3. Describe and demonstrate contrast resolution |  |  |  |
| 4. Describe and demonstrate temporal resolution |  |  |  |
| 5. Discuss tissue mimicking phantoms for quality control |  |  |  |
| 6.Describe the quality control program of an ultrasound department |  |  |  |